## ASA16N
CCD and Telescope Performance | [8 empty] | Sky Background |  | HPNa pollution |  | References:
| Green cells are variables | [7 empty] | High Desert | 21 | 0.005 |  | The Handbook of Astronomical Image Processing, R Berry, J Burnell, Richmond, Willmann-Bell 2005
| Copy and paste filter data at E61 | [7 empty] | Rural | 20 | 0.01 |  | CCD Manufacturer's spec sheets
[9 empty] | Suburban | 18.5 | 0.05 |  | H. Henniger, O. Wilfert, An introduction to free-space optical communications, 2010
[9 empty] | City | 16 | 0.5 |  | Colina, 1996 Absolute Flux Calibrated Spectrum of Vega, Inst Sci Rept CAL/SCS-008
[9 empty] | Moon-V full | 20 |  |  | Lowtran 7
Aperture |  | 15.75 | Inches | 400.05 | mm | 1124.1209 | Area cm^2 | [5 empty] | HPNa | High pressure sodium lamp spectra, various
Obstruction |  | 5.12 | Inches | 130.048 | mm |  | corrector | 0.952 | 0.73 | 1.8 |  |  | Original spreadsheet by Doug George at http://www.cyanogen.com/
Focal length |  |  |  | 1447.04 | mm |  | 1520 | 1447.04 | 1109.6 | 2736
F# |  |  |  | 3.6171
Plate scale |  |  |  | 142.5427 | arc sec/mm
Airy disk [5500] |  |  |  | 4.8542 | um | [8 empty] | Extended object of A[ arcsec^2], surface brightness S [mag/arcsec^2] or magnitude M
FWHM |  |  |  | 2.0292 | um | [9 empty] | For objects within the FOV use M and replace seeing with sqrt(seeing^2+A), total flux is calculated
Target Magnitude [V] |  | 13 | Mag | 6.3059e-06 |  | zero magnitude ratio | [8 empty] | For large objects set magnitude to S and seeing to 1 arcsec. Gives S/N for 1 arcsec^2 area
Seeing [arc-sec] |  | 3 | [12 empty] | A | M | S | sqrt(seeing^2+A)
Zenith Angle |  | 20 |  | 1.064 | Air Mass | 0.93969 | [7 empty] | mars(max) | 495 | -3 | 3.7365 | 22.4499
Optical Efficiency |  | 90% | (two reflections) | [10 empty] | M13 | 1440000 | 5.8 | 21.1959 | 1200.0037
Total Exposure |  | 15 | Seconds | [10 empty] | M33 | 10628496 | 5.72 | 23.2862 | 3260.1388
Number of Exposures |  | 1 | [11 empty] | M81 | 756000 | 6.9 | 21.5963 | 869.4878
Aperture Factor |  | 1.25 |  |  |  | Ratio of star to sky annulus area | [7 empty] | M31 | 41040000 | 3.44 | 22.473 | 6406.2477
Sky Glow |  | 19.5 | Mag/sq arc sec | 1.5835e-08 |  | zero magnitude ratio |  |  | 0.019902 | Hpna | fraction of sky glow as HPNa |  |  | M57 | 5040 | 9 | 18.2561 | 71.0563
Ambient Temperature |  | 10 | Degrees C |  |  | not implemented | [7 empty] | M104 | 109620 | 9 | 21.5997 | 331.1027
Band |  | 1 | 1 = none, 2 =V, 3 = g', 4 = r', 5 =I',6=Exo |  |  | not implemented-copy and paste from lower table | [7 empty] | saturn(max) | 317 | -0.24 | 6.01 | 18.0555
Elevation |  |  | 1 = sea level, 2 = 2000 meters | [10 empty] | jupiter(max) | 2042 | -2.94 | 5.34 | 45.288
[10 empty] | CMOS | BI
Sensor Characteristics |  | KAI04022 | KAF3200ME | ICX285AL | KAF4301E | KAF8300M | ICX814 | KAI11002M | KAF16803 | IMX178 | CCD42-40 |  |  |  |  | 3.095 | arcsec in image
Horiz pixels |  | 2048 | 2184 | 1360 | 2084 | 3326 | 3388 | 4072 | 4127 | 3096 | 2048
size [um] |  | 7.4 | 6.8 | 6.45 | 24 | 5.4 | 3.69 | 9 | 9 | 2.4 | 13.5
Vertical pixels |  | 2048 | 1510 | 1024 | 2084 | 2504 | 2712 | 2720 | 4128 | 2080 | 2048
size [um] |  | 7.4 | 6.8 | 6.45 | 24 | 5.4 | 3.69 | 9 | 9 | 2.4 | 13.5
Arc-sec/Pixel |  | 1.0548 | 0.96929 | 0.9194 | 3.421 | 0.76973 | 0.52598 | 1.2829 | 1.2829 | 0.3421 | 1.9243
Arc-sec/Meas Diam. |  | 6.3289 | 5.8157 | 5.5164 | 20.5261 | 4.6184 | 3.1559 | 7.6973 | 7.6973 | 2.0526 | 11.546
FOV Horizontal [arc-min] |  | 36.0044 | 35.2822 | 20.8397 | 118.8236 | 42.6687 | 29.7005 | 87.0651 | 88.2411 | 17.6525 | 65.6837
FOV [arcmin^2] |  | 1296.3159 | 860.6665 | 326.9985 | 14119.0482 | 1370.6659 | 706.1116 | 5063.4812 | 7788.372 | 209.3506 | 4314.3458
Gain e-/ADU |  | 0.8 | 1.3 | 0.5 | 1.9 | 0.37 | 0.28 | 0.87 | 2.3 | 1.9 | 1.9 |  | Gain
Full Well e- |  | 40000 | 55000 | 25000 | 200000 | 25500 | 18000 | 60000 | 100000 | 100000 | 100000 |  | normally read as 16 bits, 64,000 ADU with margins set by manufacturer
Read Noise / Pixel, e- |  | 8 | 7 | 7 | 15 | 8 | 3.1 | 11 | 9 | 8 | 3
Sensor Temperature, C |  | -20 | -20 | -20 | -20 | -20 | -20 | -20 | -20 | -20 | -20
Dark Current, e-/pixel/sec |  | 0.46437 | 0.082864 | 0.2 | 0.82864 | 0.0092353 | 0.00082119 | 0.58047 | 0.063684 | 0.063684 | 0.063684 |  | from manufacturer and temperature
A/D Noise |  | 0.23094 | 0.37528 | 0.55 | 0.54848 | 0.10681 | 0.080829 | 0.25115 | 0.55 | 0.55 | 0.55
Measurement FWHM radius pixels |  | 3 | 3 | 3 | 1 | 3 | 5 | 2 | 2 | 7 | 2 |  | assumes diffraction limit or the seeing limit whichever largest (usually seeing) | [7 empty] | 13.5452
Total pixels |  | 29 | 29 | 29 | 4 | 29 | 79 | 13 | 13 | 154 | 13
Sky Flux e-/sec |  | 13.4741 | 30.1935 | 20.7294 | 24.921 | 18.362 | 25.6304 | 13.0789 | 19.7423 | 37.7046 | 31.7126 |  | photons * QE into aperture. For stars all of this falls on the total pixel area
Star Flux e-/sec |  | 5241.3889 | 11832.2765 | 8090.4245 | 9765.0563 | 7176.959 | 10011.2004 | 5097.2254 | 7714.0366 | 14866.4926 | 12452.7299
Sky Photon Shot Noise ADU |  | 15.8946 | 18.6651 | 24.9376 | 14.0266 | 27.2838 | 37.0548 | 15.0166 | 11.347 | 17.253 | 15.8229
Object Photon Shot Noise ADU |  | 313.4901 | 369.4946 | 492.6588 | 277.6555 | 539.405 | 732.3348 | 296.451 | 224.2965 | 342.5887 | 313.5459
Flat-Fielding Noise ADU/pixel |  | 57.735 | 53.1085 | 57.735 | 83.7708 | 67.7834 | 65.4654 | 67.8064 | 53.8382 | 59.2349 | 59.2349 |  | assumes 1/3 full well depth and 5 flats averaged
Total Noise [ADU]/pixel |  | 16.5699 | 17.3518 | 21.4827 | 84.5289 | 24.0598 | 13.2524 | 31.5657 | 24.4255 | 6.0307 | 30.7262 |  | total noise per pixel
Signal [dark, bias, sky subtr][ADU]/pixel |  | 3388.8291 | 4707.8023 | 8369.4047 | 19273.1375 | 10033.0274 | 6788.7887 | 6760.2458 | 3869.918 | 762.1237 | 7562.3866 |  | object total flux per pixel
Max bin count [ADU] |  | 6777.6581 | 9415.6046 | 16738.8094 | 38546.275 | 20066.0548 | 13577.5774 | 13520.4917 | 7739.836 | 1524.2474 | 15124.7731 |  | assumes ~Gaussian profile
Detector Saturation Imminent | [12 empty] | saturation if max e-/pixel exceeds full well depth-remember Gain
Signal / Noise |  | 204.5172 | 271.3147 | 389.5881 | 228.0065 | 417.0037 | 512.2693 | 214.1643 | 158.4374 | 126.3737 | 246.1218
Mag sigma |  | 0.0053086 | 0.0040016 | 0.0027868 | 0.0047617 | 0.0026036 | 0.0021194 | 0.0050695 | 0.0068525 | 0.0085912 | 0.0044112
0
[5 empty] | Full Aperture |  | Full Aperture
|  | Transparency | Transparency | Filter | Total Obj Flux | Magnitude | Total Sky Flux | Magnitude | QE | QE | QE | QE | QE | QE | QE | QE | QE | QE | Object | Object | Object | Object | Object | Object | Object | Object | Object | Object | Sky Glow | Sky Glow | Sky Glow | SkyGlow | SkyGlow | SkyGlow | SkyGlow | SkyGlow | SkyGlow | SkyGlow
Wavelength | AO Flux | Sea Level | 3000m | Response | Zero Mag | 13 | Zero Mag | 19.5 | KAI04022 | KAF3200ME | ICX285AL | KAF4301E | KAF8300M | ICX814 | KAI11002 | KAF16803 | CCD3041 | CCD42-40-1 | KAI04022 | KAF3200ME | ICX285AL | KAF4301E | KAF8300M | ICX814 | KAI11002 | KAF16803 | CCD3041 | CCD42-40-1 | KAI04022 | KAF3200ME | ICX285AL | KAF4301E | KAF8300M | ICX814 | KAI04022 | KAF16803 | CCD3041 | CCD42-40-1
3000 | 250433.3005 | 0.18528 | 0.36213 | 0.3 | 25793854.0305 | 162.6526 | 25280499.3578 | 0.40032 | 0.01 | 0.05 | 0 |  | 0.01 | 0.1 | 0.01 | 0.01 | 0.57 |  | 1.6265 | 8.1326 | 0 | 0 | 1.6265 | 16.2653 | 1.6265 | 1.6265 | 92.712 | 0 | 0.0040032 | 0.020016 | 0 | 0 | 0.0040032 | 0.040032 | 0.0040032 | 0.0040032 | 0.22818 | 0
3500 | 281472.644 | 0.37742 | 0.64073 | 0.2 | 35467752.6186 | 223.6549 | 34761865.9948 | 0.55045 | 0.18 | 0.33 | 0.17 | 0.018 | 0.19 | 0.05 | 0.28 | 0.25 | 0.72 | 0.33 | 40.2579 | 73.8061 | 38.0213 | 4.0258 | 42.4944 | 11.1827 | 62.6234 | 55.9137 | 161.0315 | 73.8061 | 0.099082 | 0.18165 | 0.093577 | 0.0099082 | 0.10459 | 0.027523 | 0.15413 | 0.13761 | 0.39633 | 0.18165
4000 | 448012.8453 | 0.48224 | 0.74323 | 0.04 | 13221686.4867 | 83.3742 | 13155691.0932 | 0.20832 | 0.46 | 0.6 | 0.37 | 0.39 | 0.38 | 0.45 | 0.42 | 0.43 | 0.74 | 0.75 | 38.3521 | 50.0245 | 30.8484 | 32.5159 | 31.6822 | 37.5184 | 35.0172 | 35.8509 | 61.6969 | 62.5306 | 0.095827 | 0.12499 | 0.077078 | 0.081245 | 0.079162 | 0.093744 | 0.087494 | 0.089578 | 0.15416 | 0.15624
4500 | 745026.0257 | 0.55963 | 0.80553 | 0.02 | 11976584.7492 | 75.5227 | 11976660.8977 | 0.18965 | 0.56 | 0.62 | 0.58 | 0.4 | 0.45 | 0.65 | 0.48 | 0.45 | 0.73 | 0.83 | 42.2927 | 46.8241 | 43.8032 | 30.2091 | 33.9852 | 49.0898 | 36.2509 | 33.9852 | 55.1316 | 62.6839 | 0.1062 | 0.11758 | 0.11 | 0.07586 | 0.085343 | 0.12327 | 0.091032 | 0.085343 | 0.13844 | 0.15741
5000 | 631384.1053 | 0.61489 | 0.83796 | 0.7 | 370478296.9544 | 2336.1865 | 366789696.009 | 5.8081 | 0.54 | 0.67 | 0.65 | 0.5 | 0.52 | 0.73 | 0.51 | 0.56 | 0.74 | 0.84 | 1261.5407 | 1565.245 | 1518.5212 | 1168.0933 | 1214.817 | 1705.4162 | 1191.4551 | 1308.2645 | 1728.778 | 1962.3967 | 3.1364 | 3.8914 | 3.7753 | 2.9041 | 3.0202 | 4.2399 | 2.9621 | 3.2525 | 4.298 | 4.8788
5500 | 539483.5372 | 0.64468 | 0.84953 | 0.96 | 440508363.4662 | 2777.7868 | 475189482.5728 | 7.5246 | 0.47 | 0.8 | 0.64 | 0.7 | 0.56 | 0.77 | 0.44 | 0.6 | 0.82 | 0.83 | 1305.5598 | 2222.2294 | 1777.7835 | 1944.4507 | 1555.5606 | 2138.8958 | 1222.2262 | 1666.6721 | 2277.7851 | 2305.563 | 3.5366 | 6.0197 | 4.8157 | 5.2672 | 4.2138 | 5.7939 | 3.3108 | 4.5148 | 6.1702 | 6.2454
6000 | 449548.4874 | 0.68446 | 0.87298 | 0.965 | 379829646.0098 | 2395.1549 | 401510339.3593 | 6.3579 | 0.41 | 0.86 | 0.62 | 0.67 | 0.51 | 0.76 | 0.37 | 0.57 | 0.87 | 0.78 | 982.0135 | 2059.8332 | 1484.996 | 1604.7538 | 1221.529 | 1820.3177 | 886.2073 | 1365.2383 | 2083.7848 | 1868.2208 | 2.6067 | 5.4678 | 3.9419 | 4.2598 | 3.2425 | 4.832 | 2.3524 | 3.624 | 5.5314 | 4.9592
6500 | 378656.5922 | 0.71205 | 0.89294 | 0.955 | 324326108.9164 | 2045.157 | 321399547.0656 | 5.0894 | 0.31 | 0.85 | 0.56 | 0.64 | 0.47 | 0.7 | 0.32 | 0.46 | 0.94 | 0.77 | 633.9987 | 1738.3835 | 1145.2879 | 1308.9005 | 961.2238 | 1431.6099 | 654.4502 | 940.7722 | 1922.4476 | 1574.7709 | 1.5777 | 4.3259 | 2.85 | 3.2572 | 2.392 | 3.5625 | 1.6286 | 2.3411 | 4.784 | 3.9188
7000 | 313993.8083 | 0.71845 | 0.90685 | 0.96 | 274832913.0456 | 1733.0595 | 270666251.3374 | 4.286 | 0.24 | 0.78 | 0.45 | 0.61 | 0.42 | 0.6 | 0.24 | 0.42 | 0.96 | 0.74 | 415.9343 | 1351.7864 | 779.8768 | 1057.1663 | 727.885 | 1039.8357 | 415.9343 | 727.885 | 1663.7372 | 1282.4641 | 1.0286 | 3.3431 | 1.9287 | 2.6145 | 1.8001 | 2.5716 | 1.0286 | 1.8001 | 4.1146 | 3.1716
7500 | 277673.6448 | 0.71531 | 0.90539 | 0.95 | 240097378.7444 | 1514.0219 | 236028095.5962 | 3.7375 | 0.16 | 0.66 | 0.34 | 0.52 | 0.35 | 0.46 | 0.17 | 0.36 | 0.96 | 0.7 | 242.2435 | 999.2545 | 514.7675 | 787.2914 | 529.9077 | 696.4501 | 257.3837 | 545.0479 | 1453.461 | 1059.8153 | 0.598 | 2.4667 | 1.2707 | 1.9435 | 1.3081 | 1.7192 | 0.63537 | 1.3455 | 3.588 | 2.6162
8000 | 240427.3851 | 0.7249 | 0.88813 | 0.938 | 201104399.9551 | 1268.1374 | 197984958.5945 | 3.1351 | 0.11 | 0.52 | 0.26 | 0.52 | 0.27 | 0.38 | 0.13 | 0.33 | 0.91 | 0.62 | 139.4951 | 659.4315 | 329.7157 | 659.4315 | 342.3971 | 481.8922 | 164.8579 | 418.4853 | 1154.005 | 786.2452 | 0.34486 | 1.6302 | 0.81512 | 1.6302 | 0.84647 | 1.1913 | 0.40756 | 1.0346 | 2.8529 | 1.9438
8500 | 208548.522 | 0.76059 | 0.9284 | 0.928 | 180918732.8936 | 1140.8493 | 177427447.0818 | 2.8096 | 0.06 | 0.44 | 0.16 | 0.45 | 0.21 | 0.25 | 0.07 | 0.25 | 0.75 | 0.52 | 68.451 | 501.9737 | 182.5359 | 513.3822 | 239.5784 | 285.2123 | 79.8595 | 285.2123 | 855.637 | 593.2416 | 0.16857 | 1.2362 | 0.44953 | 1.2643 | 0.59001 | 0.70239 | 0.19667 | 0.70239 | 2.1072 | 1.461
9000 | 191373.8067 | 0.79829 | 0.94412 | 0.935 | 170287091.7278 | 1073.8076 | 167042943.4592 | 2.6451 | 0.04 | 0.29 | 0.12 | 0.34 | 0.14 | 0.17 | 0.05 | 0.16 | 0.61 | 0.38 | 42.9523 | 311.4042 | 128.8569 | 365.0946 | 150.3331 | 182.5473 | 53.6904 | 171.8092 | 655.0226 | 408.0469 | 0.1058 | 0.76708 | 0.31741 | 0.89934 | 0.37032 | 0.44967 | 0.13226 | 0.42322 | 1.6135 | 1.0051
9500 | 184224.2194 | 0.58326 | 0.83741 | 0.922 | 142280296.3476 | 897.2005 | 139587953.8662 | 2.2104 | 0.02 | 0.13 | 0.08 | 0.2 | 0.09 | 0.08 | 0.03 | 0.1 | 0.42 | 0.26 | 17.944 | 116.6361 | 71.776 | 179.4401 | 80.748 | 71.776 | 26.916 | 89.72 | 376.8242 | 233.2721 | 0.044207 | 0.28735 | 0.17683 | 0.44207 | 0.19893 | 0.17683 | 0.066311 | 0.22104 | 0.92836 | 0.5747
10000 | 166830.5567 | 0.70756 | 0.89926 | 0.918 | 138391850.6575 | 872.6805 | 135746625.4961 | 2.1495 | 0.01 | 0.09 | 0.05 | 0.08 | 0.04 | 0.04 | 0.01 | 0.05 | 0.26 | 0.15 | 8.7268 | 78.5412 | 43.634 | 69.8144 | 34.9072 | 34.9072 | 8.7268 | 43.634 | 226.8969 | 130.9021 | 0.021495 | 0.19346 | 0.10748 | 0.17196 | 0.085982 | 0.085982 | 0.021495 | 0.10748 | 0.55888 | 0.32243
10500 | 147821.2786 | 0.85365 | 0.96433 | 0.913 | 131365602.9601 | 828.3739 | 128911683.9009 | 2.0413 |  | 0.05 | 0.02 | 0.04 | 0.01 | 0.01 |  | 0.02 | 0.1 | 0.05 | 0 | 41.4187 | 16.5675 | 33.135 | 8.2837 | 8.2837 | 0 | 16.5675 | 82.8374 | 41.4187 | 0 | 0.10207 | 0.040826 | 0.081652 | 0.020413 | 0.020413 | 0 | 0.040826 | 0.20413 | 0.10207
11000 | 131392.6236 | 0.83343 | 0.95411 | 0.922 | 116587133.6726 | 735.1829 | 114861182.376 | 1.8188 |  | 0.01 | 0 | 0.01 |  |  |  | 0.01 | 0.02 | 0.01 | 0 | 7.3518 | 0 | 7.3518 | 0 | 0 | 0 | 7.3518 | 14.7037 | 7.3518 | 0 | 0.018188 | 0 | 0.018188 | 0 | 0 | 0 | 0.018188 | 0.036376 | 0.018188
11500 | 120432.1477 | 0.41852 | 0.73389 | 0.9 | 78899533.8583 | 497.5299 | 77461753.1137 | 1.2266 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
12000 | 108043.5281 | 0.71694 | 0.8999 | 0.9 | 87934935.6855 | 554.5059 | 86307186.7941 | 1.3667 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
12500 | 97410.1984 | 0.84656 | 0.95711 | 0.8 | 75248073.8303 | 474.5043 | 73858323.9781 | 1.1695 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
13000 | 85617.8846 | 0.85492 | 0.95541 | 0.7 | 57761575.999 | 364.2368 | 56681269.3088 | 0.89755 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
14000 | 76126.5384 | 0.2916 | 0.49602 | 0.05 | 1826366.2429 | 11.5168 | 1793534.5484 | 0.028401 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
16000 | 57907.7759 | 0.53496 | 0.75389 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
18000 | 42630.8263 | 0.84087 | 0.94882 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
20000 | 31719.6177 | 0.13196 | 0.33539 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
22000 | 24472.2942 | 0.76761 | 0.87562 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
25000 | 27097.1455 | 0.71188 | 0.87418 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | [9 empty] | 0 | [9 empty] | 0
Total/Avg | 231768.9385 | 0.63229 | 0.81716 | 0.588 | 3499138178.8522 | 22065.0968 | 3514422991.8017 |  | 0.255 | 0.45588 | 0.0063636 | 0.3805 | 0.30733 | 0.3875 | 0.23533 | 0.29588 | 0.65412 | 0.535 | 5241.3889 | 11832.2765 | 8090.4245 | 9765.0563 | 7176.959 | 10011.2004 | 5097.2254 | 7714.0366 | 14866.4926 | 12452.7299 | 13.4741 | 30.1935 | 20.7294 | 24.921 | 18.362 | 25.6304 | 13.0789 | 19.7423 | 37.7046 | 31.7126
6257761.3398
[5 empty] | phot/sec/aperture | [13 empty] | e-/sec | [9 empty] | e-/sec
[19 empty] | in focal spot | [9 empty] | assume in
focal spot too
| Filters | Astrodon Spectral Response
[6 empty] | u' | g' | r' | I' | z' |  | exoplanet |  | IR1 | IR2 | IR3 | IRLum
| U | B | V | R | I
3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.3
3500 | 0.96 | 0.02 | 0 | 0 | 0 | 0.99 | 0.05 | 0 | 0 | 0 |  | 0.2
4000 | 0.1 | 0.68 | 0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0 |  | 0.04
4500 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0.99 | 0 | 0 | 0 |  | 0.02
5000 | 0 | 0.05 | 0.74 | 0 | 0 | 0 | 0.99 | 0 | 0 | 0 |  | 0.7
5500 | 0 | 0 | 0.925 | 0.05 | 0 | 0 | 0.45 | 0.36 | 0 | 0 |  | 0.96
6000 | 0 | 0 | 0.41 | 0.98 | 0 | 0 | 0 | 0.96 | 0 | 0 |  | 0.965
6500 | 0 | 0 | 0.026 | 0.78 | 0 | 0 | 0 | 0.97 | 0 | 0 |  | 0.955
7000 | 0 | 0 | 0 | 0.5 | 0.005 | 0 | 0 | 0.11 | 0.98 | 0 |  | 0.96 |  | 0.004 |  |  | 0.01
7500 | 0 | 0 | 0 | 0.3 | 0.96 | 0 | 0 | 0 | 0.98 | 0 |  | 0.95 |  | 0.935 | 0.04 |  | 0.9
8000 | 0 | 0 | 0 | 0.13 | 0.98 | 0 | 0 | 0 | 0.98 | 0 |  | 0.938 |  | 0.27 | 0.84 | 0.003 | 0.98
8500 | 0 | 0 | 0 | 0.02 | 0.97 | 0 | 0 | 0 | 0 | 0.97 |  | 0.928 |  | 0.03 | 0.94 | 0.995 | 0.98
9000 | 0 | 0 | 0 | 0 | 0.03 | 0 | 0 | 0 | 0 | 0.97 |  | 0.935 |  | 0.004 | 0.055 | 0.995 | 0.98
9500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97 |  | 0.922 |  |  | 0.01 | 0.995 | 0.97
10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97 |  | 0.918 |  |  | 0.002 | 0.995 | 0.97
10500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.97 |  | 0.913 |  |  |  | 0.995 | 0.93
11000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96 |  | 0.922 |  |  |  | 0.995 | 0.93
11500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96 |  | 0.9 |  |  |  | 0.995 | 0.93
12000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.96 |  | 0.9 |  |  |  | 0.995 | 0.93
12500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 |  | 0.8 |  |  |  | 0.85 | 0.8
13000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7 |  | 0.7 |  |  |  | 0.75 | 0.7
14000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 |  | 0.05 |  |  |  | 0.05 | 0.05
16000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
18000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
22000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
25000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| hi pressure Na spectrum | [9 empty] | QE
|  |  |  | Mag 16 | [6 empty] | InGaAs
|  | integ. Over band |  | photons
3000 |  | 0 |  | 0 | [6 empty] | 0
3500 |  | 0 |  | 0 | [6 empty] | 0
4000 |  | 0.027748 |  | 335651.7531 | [6 empty] | 0
4500 |  | 0.037049 |  | 745264.0374 | [6 empty] | 0
5000 |  | 0.018509 |  | 315526.5536 | [6 empty] | 0
5500 |  | 0.18355 |  | 2673588.9117 | [6 empty] | 0
6000 |  | 0.14326 |  | 1738865.0666 | [6 empty] | 0
6500 |  | 0.020245 |  | 206976.4613 | [6 empty] | 0
7000 |  | 0.0088237 |  | 74805.8548 | [6 empty] | 0
7500 |  | 0.0054968 |  | 41210.2771 | [6 empty] | 0
8000 |  | 0.0081708 |  | 53041.0553 | [6 empty] | 0
8500 |  | 0.0011253 |  | 6336.1606 | [6 empty] | 0
9000 |  | 0.001584 |  | 8184.4741 | [6 empty] | 0
9500 |  | 0.0018226 |  | 9065.8127 | [6 empty] | 0
10000 |  | 0.0014668 |  | 6606.9715 | [6 empty] | 0.35
10500 |  | 0.0022743 |  | 9077.2684
11000 |  | 0.0094876 |  | 33658.1869
11500 |  | 0.0031251 |  | 10161.6397
12000 |  | 0.0025893 |  | 7553.3922 | [6 empty] | 0.46
12500 |  | 0.0026673 |  | 7015.2013
13000 |  | 0.0022319 |  | 5159.5122
14000 |  | 0.0035836 |  | 7365.8482 | [6 empty] | 0.7
16000 |  | 0.0021679 |  | 3389.5328 | [6 empty] | 0.7
18000 |  | 0.0006767 |  | 778.9088 | [6 empty] | 0.7
20000 |  | 0 |  | 0 | [6 empty] | 0.05
22000 |  | 0 |  | 0 | [6 empty] | 0
25000 |  | 0 |  | 0 | [6 empty] | 0
|  | 0.48765 |  | 6299282.8802

## AtmosT
| Lowtran7 std atmos. |  | 0,3000m at zenith
|  | ave T |  | ave T | ave is over range that ends with the wavelength
lambda |  | sea level |  | 3000m
2500
3000 |  | 0.18528 |  | 0.36213
3500 |  | 0.37742 |  | 0.64073
4000 |  | 0.48224 |  | 0.74323
4500 |  | 0.55963 |  | 0.80553
5000 |  | 0.61489 |  | 0.83796
5500 |  | 0.64468 |  | 0.84953
6000 |  | 0.68446 |  | 0.87298
6500 |  | 0.71205 |  | 0.89294
7000 |  | 0.71845 |  | 0.90685
7500 |  | 0.71531 |  | 0.90539
8000 |  | 0.7249 |  | 0.88813
8500 |  | 0.76059 |  | 0.9284
9000 |  | 0.79829 |  | 0.94412
9500 |  | 0.58326 |  | 0.83741
10000 |  | 0.70756 |  | 0.89926
10500 |  | 0.85365 |  | 0.96433
11000 |  | 0.83343 |  | 0.95411
11500 |  | 0.41852 |  | 0.73389
12000 |  | 0.71694 |  | 0.8999
12500 |  | 0.84656 |  | 0.95711
13000 |  | 0.85492 |  | 0.95541
14000 |  | 0.2916 |  | 0.49602
16000 |  | 0.53496 |  | 0.75389
18000 |  | 0.84087 |  | 0.94882
20000 |  | 0.13196 |  | 0.33539
22000 |  | 0.76761 |  | 0.87562
25000 |  | 0.71188 |  | 0.87418

## Vega
Data from Colina, 1996
|  |  |  | x0 | y0 | [5 empty] | h | 6.626e-27 | erg*sec
|  | raw scan |  | 103 | 740 | [5 empty] | c | 29970000000 | cm/sec
[14 empty] | lambda | flux | flux spectrum
|  |  | lambda |  |  | log f(V) |  | log f(V) calc | flux |  | ergs/photon |  | flux | 2000 | 1130260.1625
| cm | Ang | nm | x |  | y | y-740 |  | ergs/cm^2/sec/A |  | hc/lambda |  | phot/cm^2/sec/A | 2500 |  | 493.4446
| 2e-05 | 2000 | 200 | 120 |  | 91 | -649 | -8.2509 | 5.6112e-09 |  | 9.9291e-12 |  | 1130260.1625 | 3000 | 1646954.8498 | 500.8666
| 3e-05 | 3000 | 300 | 142 |  | 141 | -599 | -8.4396 | 3.6339e-09 |  | 6.6194e-12 |  | 1646954.8498 | 3500 |  | 562.9453
| 4e-05 | 4000 | 400 | 164 |  | 47 | -693 | -8.0849 | 8.2242e-09 |  | 4.9645e-12 |  | 6626377.1047 | 4000 | 6626377.1047 | 896.0257
| 5e-05 | 5000 | 500 | 186 |  | 114 | -626 | -8.3377 | 4.5948e-09 |  | 3.9716e-12 |  | 5784502.1273 | 4500 |  | 1490.0521
| 6e-05 | 6000 | 600 | 207 |  | 175 | -565 | -8.5679 | 2.7044e-09 |  | 3.3097e-12 |  | 4902750.5601 | 5000 | 5784502.1273 | 1262.7682 |  | sl/l
| 7e-05 | 7000 | 700 | 229 |  | 226 | -514 | -8.7604 | 1.7363e-09 |  | 2.8369e-12 |  | 4284306.6408 | 5500 |  | 1078.9671 | 34350000 | 0.16
| 8e-05 | 8000 | 800 | 251 |  | 276 | -464 | -8.9491 | 1.1245e-09 |  | 2.4823e-12 |  | 3623975.0224 | 6000 | 4902750.5601 | 899.097
| 9e-05 | 9000 | 900 | 273 |  | 315 | -425 | -9.0962 | 8.0126e-10 |  | 2.2065e-12 |  | 3268288.8272 | 6500 |  | 757.3132
| 0.0001 | 10000 | 1000 | 295 |  | 367 | -373 | -9.2925 | 5.0997e-10 |  | 1.9858e-12 |  | 2568082.6415 | 7000 | 4284306.6408 | 627.9876
| 0.00012 | 12000 | 1200 | 338 |  | 414 | -326 | -9.4698 | 3.3899e-10 |  | 1.6548e-12 |  | 2458176.1282 | 7500 |  | 555.3473
| 0.00014 | 14000 | 1400 | 382 |  | 478 | -262 | -9.7113 | 1.9439e-10 |  | 1.4184e-12 |  | 1918656.115 | 8000 | 3623975.0224 | 480.8548
| 0.00016 | 16000 | 1600 | 425 |  | 529 | -211 | -9.9038 | 1.248e-10 |  | 1.2411e-12 |  | 1608896.8667 | 8500 |  | 417.097
| 0.00018 | 18000 | 1800 | 469 |  | 577 | -163 | -10.0849 | 8.2242e-11 |  | 1.1032e-12 |  | 1341841.3637 | 9000 | 3268288.8272 | 382.7476
| 0.0002 | 20000 | 2000 | 513 |  | 623 | -117 | -10.2585 | 5.5145e-11 |  | 9.9291e-13 |  | 1110788.1827 | 9500 |  | 368.4484
| 0.00022 | 22000 | 2200 | 556 |  | 663 | -77 | -10.4094 | 3.8955e-11 |  | 9.0264e-13 |  | 949452.4618 | 10000 | 2568082.6415 | 333.6611
| 0.00025 | 25000 | 2500 | 613 |  | 721 | -19 | -10.6283 | 2.3534e-11 |  | 7.9432e-13 |  | 740695.9262 | 12000 | 2458176.1282 | 295.6426
[14 empty] | 14000 | 1918656.115 | 262.7852
[14 empty] | 16000 | 1608896.8667 | 240.8643
|  |  | log f | y | delta | y-740 |  |  | FWHM | Filters | mVega | fVega | f(0) | 18000 | 1341841.3637 | 216.0871
|  |  | -10.7 | 740 | 53 | 0 |  | -10.7 | 485 | U | 0.03 | 4.22e-09 | 4.34e-09 | 20000 | 1110788.1827 | 194.8204
|  |  | -10.5 | 687 | 132 | -53 |  | -10.5 | 831 | B | 0.035 | 6.2e-09 | 6.4e-09 | 22000 | 949452.4618 | 171.2358
|  |  | -10 | 555 | 133 | -185 |  | -10.0019 | 827 | V | 0.035 | 3.55e-09 | 3.67e-09 | 25000 | 740695.9262 | 152.2531
|  |  | -9.5 | 422 | 132 | -318 |  | -9.5 | 1742 | R | 0.075 | 1.795e-09 | 1.92e-09
|  |  | -9 | 290 | 134 | -450 |  | -9.0019 | 1970 | I | 0.095 | 8.6e-10 | 9.39e-10
|  |  | -8.5 | 156 | 132 | -584 |  | -8.4962
|  |  | -8 | 24 |  | -716 |  | -7.9981

## HPNa
High Pressure Sodium Lamp Spectrum
| from: | Rakic etal 2011 |  | with added short wavelength data
|  |  | lambda |  | intensity | int area | band |  | band | spectral density | normalized
scattering
|  |  | 385.4 |  | 0.8065 | [5 empty] | 8209.7207 |  |  |  | weighted
|  |  | 387.8 |  | 0.8065 | 1.9356 |  |  | 4000 | 44.9985 | 0.0054811 | 4000 | 0.0054811 |  | 0.027748
|  |  | 388.9 |  | 0.8065 | 0.88715 |  |  | 4500 | 96.2384 | 0.011722 | 4500 | 0.011722 |  | 0.037049
|  |  | 390.1 |  | 0.8065 | 0.9678 |  |  | 5000 | 73.2794 | 0.0089259 | 5000 | 0.0089259 |  | 0.018509
|  |  | 391.3 |  | 0.8065 | 0.9678 |  |  | 5500 | 1063.9637 | 0.1296 | 5500 | 0.1296 |  | 0.18355
|  |  | 393.7 |  | 0.8065 | 1.9356 |  |  | 6000 | 1176.1263 | 0.14326 | 6000 | 0.14326 |  | 0.14326
|  |  | 394.9 |  | 0.8065 | 0.9678 |  |  | 6500 | 228.9225 | 0.027884 | 6500 | 0.027884 |  | 0.020245
|  |  | 396.1 |  | 0.8065 | 0.9678 |  |  | 7000 | 134.2043 | 0.016347 | 7000 | 0.016347 |  | 0.0088237
|  |  | 397.3 |  | 0.8065 | 0.9678 |  |  | 7500 | 110.1731 | 0.01342 | 7500 | 0.01342 |  | 0.0054968
|  |  | 398.4 |  | 0.8065 | 0.88715 |  |  | 8000 | 212.0058 | 0.025824 | 8000 | 0.025824 |  | 0.0081708
|  |  | 399.6 |  | 0.8065 | 0.9678 |  |  | 8500 | 37.2095 | 0.0045324 | 8500 | 0.0045324 |  | 0.0011253
|  |  | 400.8 |  | 0.8065 | 0.9678 |  |  | 9000 | 65.8321 | 0.0080188 | 9000 | 0.0080188 |  | 0.001584
|  |  | 402 |  | 0.8065 | 0.9678 |  |  | 9500 | 94.0403 | 0.011455 | 9500 | 0.011455 |  | 0.0018226
|  |  | 403.2 |  | 1.075 | 1.29 |  |  | 10000 | 92.9151 | 0.011318 | 10000 | 0.011318 |  | 0.0014668
|  |  | 404.4 |  | 1.344 | 1.6128 |  |  | 10500 | 175.1197 | 0.021331 | 10500 | 0.021331 |  | 0.0022743
|  |  | 405.6 |  | 1.075 | 1.29 |  |  | 11000 | 879.934 | 0.10718 | 11000 | 0.10718 |  | 0.0094876
|  |  | 406.8 |  | 1.075 | 1.29 |  |  | 11500 | 346.2361 | 0.042174 | 11500 | 0.042174 |  | 0.0031251
|  |  | 408 |  | 1.075 | 1.29 |  |  | 12000 | 340.1166 | 0.041429 | 12000 | 0.041429 |  | 0.0025893
|  |  | 409.1 |  | 0.8065 | 0.88715 |  |  | 12500 | 412.5109 | 0.050247 | 12500 | 0.050247 |  | 0.0026673
|  |  | 410.3 |  | 1.075 | 1.29 |  |  | 13000 | 403.8101 | 0.049187 | 13000 | 0.049187 |  | 0.0022319
|  |  | 411.5 |  | 1.075 | 1.29 |  |  | 14000 | 872.0842 | 0.10623 | 14000 | 0.10623 |  | 0.0035836
|  |  | 412.7 |  | 0.8065 | 0.9678 |  |  | 16000 | 900 | 0.10963 | 16000 | 0.10963 |  | 0.0021679
|  |  | 413.9 |  | 0.8065 | 0.9678 |  |  | 18000 | 450 | 0.054813 | 18000 | 0.054813 | ish | 0.0006767
|  |  | 415.1 |  | 0.8065 | 0.9678
|  |  | 419.8 |  | 0.8065 | 3.7905
|  |  | 421 |  | 0.8065 | 0.9678
|  |  | 422.2 |  | 0.8065 | 0.9678
|  |  | 423.4 |  | 0.8065 | 0.9678
|  |  | 424.6 |  | 1.075 | 1.29
|  |  | 425.8 |  | 1.344 | 1.6128
|  |  | 427 |  | 2.151 | 2.5812
|  |  | 428.2 |  | 2.957 | 3.5484
|  |  | 429.3 |  | 2.151 | 2.3661
|  |  | 430.5 |  | 1.613 | 1.9356
|  |  | 431.7 |  | 1.344 | 1.6128
|  |  | 432.9 |  | 1.344 | 1.6128
|  |  | 434.1 |  | 1.075 | 1.29
|  |  | 435.3 |  | 0.8065 | 0.9678
|  |  | 436.5 |  | 0.8065 | 0.9678
|  |  | 437.7 |  | 0.8065 | 0.9678
|  |  | 438.9 |  | 1.075 | 1.29
|  |  | 440 |  | 1.075 | 1.1825
|  |  | 441.2 |  | 0.8065 | 0.9678 | 45.9663 | 400-450
|  |  | 456.7 |  | 0.8065 | 12.5008
|  |  | 460.2 |  | 0.8065 | 2.8228
|  |  | 462.6 |  | 0.8065 | 1.9356
|  |  | 466.2 |  | 0.8065 | 2.9034
|  |  | 467.4 |  | 1.075 | 1.29
|  |  | 468.6 |  | 1.882 | 2.2584
|  |  | 469.7 |  | 5.376 | 5.9136
|  |  | 470.9 |  | 11.29 | 13.548
|  |  | 472.1 |  | 8.602 | 10.3224
|  |  | 473.3 |  | 2.957 | 3.5484
|  |  | 474.5 |  | 1.882 | 2.2584
|  |  | 475.7 |  | 1.075 | 1.29
|  |  | 476.9 |  | 0.8065 | 0.9678
|  |  | 478.1 |  | 0.8065 | 0.9678
|  |  | 479.3 |  | 0.8065 | 0.9678
|  |  | 480.4 |  | 0.8065 | 0.88715
|  |  | 481.6 |  | 0.8065 | 0.9678
|  |  | 482.8 |  | 0.8065 | 0.9678
|  |  | 484 |  | 0.8065 | 0.9678
|  |  | 485.2 |  | 0.8065 | 0.9678
|  |  | 486.4 |  | 0.8065 | 0.9678
|  |  | 487.6 |  | 0.8065 | 0.9678
|  |  | 488.8 |  | 0.8065 | 0.9678
|  |  | 491.1 |  | 0.8065 | 1.855
|  |  | 492.3 |  | 0.8065 | 0.9678
|  |  | 493.5 |  | 4.57 | 5.484
|  |  | 494.7 |  | 4.301 | 5.1612
|  |  | 495.9 |  | 8.065 | 9.678
|  |  | 497.1 |  | 0.8065 | 0.9678
|  |  | 498.3 |  | 0.8065 | 0.9678 | 96.2384 | 450-500
|  |  | 512.5 |  | 0.8065 | 11.4523
|  |  | 513.7 |  | 0.8065 | 0.9678
|  |  | 514.9 |  | 0.8065 | 0.9678
|  |  | 516.1 |  | 0.8065 | 0.9678
|  |  | 517.3 |  | 0.8065 | 0.9678
|  |  | 518.5 |  | 0.8065 | 0.9678
|  |  | 519.7 |  | 0.8065 | 0.9678
|  |  | 523.2 |  | 0.8065 | 2.8228
|  |  | 524.4 |  | 0.8065 | 0.9678
|  |  | 525.6 |  | 0.8065 | 0.9678
|  |  | 526.8 |  | 0.8065 | 0.9678
|  |  | 528 |  | 0.8065 | 0.9678
|  |  | 529.2 |  | 0.8065 | 0.9678
|  |  | 530.4 |  | 0.8065 | 0.9678
|  |  | 531.5 |  | 0.8065 | 0.88715
|  |  | 532.7 |  | 0.8065 | 0.9678
|  |  | 533.9 |  | 0.8065 | 0.9678
|  |  | 535.1 |  | 1.075 | 1.29
|  |  | 536.3 |  | 1.882 | 2.2584
|  |  | 537.5 |  | 1.882 | 2.2584
|  |  | 538.7 |  | 1.344 | 1.6128
|  |  | 539.9 |  | 2.151 | 2.5812
|  |  | 541 |  | 2.688 | 2.9568
|  |  | 542.2 |  | 2.957 | 3.5484
|  |  | 543.4 |  | 3.763 | 4.5156
|  |  | 544.6 |  | 4.032 | 4.8384
|  |  | 545.8 |  | 4.032 | 4.8384
|  |  | 547 |  | 4.032 | 4.8384
|  |  | 548.2 |  | 3.763 | 4.5156
|  |  | 549.4 |  | 3.763 | 4.5156 | 73.2794 | 500-550
|  |  | 550.6 |  | 4.032 | 4.8384
|  |  | 551.7 |  | 4.032 | 4.4352
|  |  | 552.9 |  | 4.032 | 4.8384
|  |  | 554.1 |  | 4.301 | 5.1612
|  |  | 555.3 |  | 4.301 | 5.1612
|  |  | 556.5 |  | 4.57 | 5.484
|  |  | 557.7 |  | 4.839 | 5.8068
|  |  | 558.9 |  | 5.108 | 6.1296
|  |  | 560.1 |  | 5.376 | 6.4512
|  |  | 561.2 |  | 5.645 | 6.2095
|  |  | 562.4 |  | 6.989 | 8.3868
|  |  | 563.6 |  | 9.409 | 11.2908
|  |  | 564.8 |  | 18.01 | 21.612
|  |  | 566 |  | 56.72 | 68.064
|  |  | 567.2 |  | 99.19 | 119.028
|  |  | 568.4 |  | 73.66 | 88.392
|  |  | 569.6 |  | 44.89 | 53.868
|  |  | 570.8 |  | 21.77 | 26.124
|  |  | 571.9 |  | 11.29 | 12.419
|  |  | 573.1 |  | 11.02 | 13.224
|  |  | 574.3 |  | 11.02 | 13.224
|  |  | 575.5 |  | 11.83 | 14.196
|  |  | 576.7 |  | 14.25 | 17.1
|  |  | 577.9 |  | 15.59 | 18.708
|  |  | 579.1 |  | 16.67 | 20.004
|  |  | 580.3 |  | 18.28 | 21.936
|  |  | 581.4 |  | 20.16 | 22.176
|  |  | 582.6 |  | 25.81 | 30.972
|  |  | 583.8 |  | 27.96 | 33.552
|  |  | 585 |  | 31.18 | 37.416
|  |  | 586.2 |  | 35.75 | 42.9
|  |  | 587.4 |  | 41.13 | 49.356
|  |  | 588.6 |  | 45.16 | 54.192
|  |  | 589.8 |  | 47.04 | 56.448
|  |  | 591 |  | 46.77 | 56.124
|  |  | 592.1 |  | 38.44 | 42.284
|  |  | 593.3 |  | 19.09 | 22.908
|  |  | 594.5 |  | 2.419 | 2.9028
|  |  | 595.7 |  | 1.075 | 1.29
|  |  | 596.9 |  | 1.075 | 1.29
|  |  | 598.1 |  | 5.914 | 7.0968
|  |  | 599.3 |  | 17.47 | 20.964 | 1063.9637 | 550-600
|  |  | 600.5 |  | 33.87 | 40.644
|  |  | 601.6 |  | 38.98 | 42.878
|  |  | 602.8 |  | 42.74 | 51.288
|  |  | 604 |  | 45.43 | 54.516
|  |  | 605.2 |  | 45.16 | 54.192
|  |  | 606.4 |  | 45.16 | 54.192
|  |  | 607.6 |  | 44.09 | 52.908
|  |  | 608.8 |  | 41.4 | 49.68
|  |  | 610 |  | 37.63 | 45.156
|  |  | 611.2 |  | 36.29 | 43.548
|  |  | 612.3 |  | 33.6 | 36.96
|  |  | 613.5 |  | 31.99 | 38.388
|  |  | 614.7 |  | 30.65 | 36.78
|  |  | 615.9 |  | 29.03 | 34.836
|  |  | 617.1 |  | 27.69 | 33.228
|  |  | 618.3 |  | 25.54 | 30.648
|  |  | 619.5 |  | 22.85 | 27.42
|  |  | 620.7 |  | 22.04 | 26.448
|  |  | 621.9 |  | 21.24 | 25.488
|  |  | 623 |  | 19.89 | 21.879
|  |  | 624.2 |  | 18.55 | 22.26
|  |  | 625.4 |  | 17.74 | 21.288
|  |  | 626.6 |  | 16.67 | 20.004
|  |  | 627.8 |  | 15.86 | 19.032
|  |  | 629 |  | 15.05 | 18.06
|  |  | 630.2 |  | 14.52 | 17.424
|  |  | 631.4 |  | 23.66 | 28.392
|  |  | 632.5 |  | 43.82 | 48.202
|  |  | 633.7 |  | 28.76 | 34.512
|  |  | 634.9 |  | 12.63 | 15.156
|  |  | 636.1 |  | 11.56 | 13.872
|  |  | 637.3 |  | 10.75 | 12.9
|  |  | 638.5 |  | 10.48 | 12.576
|  |  | 639.7 |  | 9.946 | 11.9352
|  |  | 640.9 |  | 9.409 | 11.2908
|  |  | 642.1 |  | 9.14 | 10.968
|  |  | 643.2 |  | 8.871 | 9.7581
|  |  | 644.4 |  | 8.602 | 10.3224
|  |  | 645.6 |  | 8.333 | 9.9996
|  |  | 646.8 |  | 7.796 | 9.3552
|  |  | 648 |  | 7.796 | 9.3552
|  |  | 649.2 |  | 6.989 | 8.3868 | 1176.1263 | 600-650
|  |  | 650.4 |  | 6.989 | 8.3868
|  |  | 651.6 |  | 6.989 | 8.3868
|  |  | 652.7 |  | 6.989 | 7.6879
|  |  | 653.9 |  | 6.72 | 8.064
|  |  | 655.1 |  | 6.452 | 7.7424
|  |  | 656.3 |  | 6.183 | 7.4196
|  |  | 657.5 |  | 6.183 | 7.4196
|  |  | 658.7 |  | 5.914 | 7.0968
|  |  | 659.9 |  | 5.914 | 7.0968
|  |  | 661.1 |  | 5.645 | 6.774
|  |  | 662.3 |  | 5.645 | 6.774
|  |  | 663.4 |  | 5.376 | 5.9136
|  |  | 664.6 |  | 5.376 | 6.4512
|  |  | 665.8 |  | 5.376 | 6.4512
|  |  | 667 |  | 5.108 | 6.1296
|  |  | 668.2 |  | 5.108 | 6.1296
|  |  | 669.4 |  | 5.108 | 6.1296
|  |  | 670.6 |  | 5.108 | 6.1296
|  |  | 671.8 |  | 4.57 | 5.484
|  |  | 672.9 |  | 4.57 | 5.027
|  |  | 674.1 |  | 4.301 | 5.1612
|  |  | 675.3 |  | 4.301 | 5.1612
|  |  | 676.5 |  | 4.032 | 4.8384
|  |  | 677.7 |  | 4.032 | 4.8384
|  |  | 678.9 |  | 3.763 | 4.5156
|  |  | 680.1 |  | 3.763 | 4.5156
|  |  | 681.3 |  | 3.495 | 4.194
|  |  | 682.5 |  | 3.763 | 4.5156
|  |  | 683.6 |  | 3.763 | 4.1393
|  |  | 684.8 |  | 3.763 | 4.5156
|  |  | 686 |  | 3.495 | 4.194
|  |  | 687.2 |  | 3.763 | 4.5156
|  |  | 688.4 |  | 3.763 | 4.5156
|  |  | 689.6 |  | 3.495 | 4.194
|  |  | 690.8 |  | 3.495 | 4.194
|  |  | 692 |  | 3.495 | 4.194
|  |  | 693.1 |  | 2.957 | 3.2527
|  |  | 694.3 |  | 2.957 | 3.5484
|  |  | 695.5 |  | 2.957 | 3.5484
|  |  | 696.7 |  | 2.688 | 3.2256
|  |  | 697.9 |  | 2.688 | 3.2256
|  |  | 699.1 |  | 2.688 | 3.2256 | 228.9225 | 650-700
|  |  | 700.3 |  | 2.957 | 3.5484
|  |  | 701.5 |  | 2.957 | 3.5484
|  |  | 702.7 |  | 2.957 | 3.5484
|  |  | 703.8 |  | 3.495 | 3.8445
|  |  | 705 |  | 3.226 | 3.8712
|  |  | 706.2 |  | 3.495 | 4.194
|  |  | 707.4 |  | 3.495 | 4.194
|  |  | 708.6 |  | 3.495 | 4.194
|  |  | 706.9 |  | 3.495 | 16.4265
|  |  | 711.6 |  | 3.2811 | 15.4213
|  |  | 716.3 |  | 2.9243 | 13.7443
|  |  | 721 |  | 2.568 | 12.0698
|  |  | 725.7 |  | 2.4966 | 11.7339
|  |  | 730.4 |  | 2.4251 | 11.398
|  |  | 735.1 |  | 2.0688 | 9.7235
|  |  | 739.8 |  | 2.0688 | 9.7235
|  |  | 744.5 |  | 2.0688 | 9.7235
|  |  | 749.2 |  | 2.0688 | 9.7235 | 150.6307 | 700-750
|  |  | 753.9 |  | 1.8544 | 8.7158
|  |  | 758.6 |  | 1.7835 | 8.3824
|  |  | 763.3 |  | 1.6406 | 7.7106
|  |  | 768.1 |  | 5.422 | 26.0254
|  |  | 772.8 |  | 4.351 | 20.4497
|  |  | 777.5 |  | 1.7835 | 8.3824
|  |  | 782.2 |  | 1.6406 | 7.7106
|  |  | 786.9 |  | 1.5691 | 7.3747
|  |  | 791.6 |  | 1.6406 | 7.7106
|  |  | 796.3 |  | 1.6406 | 7.7106 | 110.1731 | 750-800
|  |  | 801 |  | 1.712 | 8.0465
|  |  | 805.7 |  | 1.7835 | 8.3824
|  |  | 810.4 |  | 1.8544 | 8.7158
|  |  | 815.1 |  | 2.7819 | 13.075
|  |  | 819.8 |  | 14.3368 | 67.3828
|  |  | 824.5 |  | 13.4824 | 63.3671
|  |  | 829.2 |  | 3.9947 | 18.7753
|  |  | 833.9 |  | 1.8544 | 8.7158
|  |  | 838.7 |  | 1.2128 | 5.8215
|  |  | 843.4 |  | 1.1414 | 5.3644
|  |  | 848.1 |  | 0.92748 | 4.3592 | 212.0058 | 800-850
|  |  | 852.8 |  | 0.85601 | 4.0233
|  |  | 857.5 |  | 0.78455 | 3.6874
|  |  | 862.2 |  | 0.78455 | 3.6874
|  |  | 866.9 |  | 0.71308 | 3.3515
|  |  | 871.6 |  | 0.71308 | 3.3515
|  |  | 876.3 |  | 0.71308 | 3.3515
|  |  | 881 |  | 0.71308 | 3.3515
|  |  | 885.7 |  | 0.71308 | 3.3515
|  |  | 890.4 |  | 0.64215 | 3.0181
|  |  | 895.1 |  | 0.64215 | 3.0181
|  |  | 899.8 |  | 0.64215 | 3.0181 | 37.2095 | 850-900
|  |  | 904.5 |  | 1.2128 | 5.7003
|  |  | 909.3 |  | 1.2128 | 5.8215
|  |  | 914 |  | 1.2128 | 5.7003
|  |  | 918.7 |  | 1.2838 | 6.0336
|  |  | 923.4 |  | 1.2838 | 6.0336
|  |  | 928.1 |  | 1.4267 | 6.7054
|  |  | 932.8 |  | 1.4267 | 6.7054
|  |  | 937.5 |  | 1.5691 | 7.3747
|  |  | 942.2 |  | 1.6406 | 7.7106
|  |  | 946.9 |  | 1.712 | 8.0465 | 65.8321 | 900-950
|  |  | 951.6 |  | 1.7835 | 8.3824
|  |  | 956.3 |  | 1.7835 | 8.3824
|  |  | 961 |  | 1.7835 | 8.3824
|  |  | 965.7 |  | 1.712 | 8.0465
|  |  | 970.4 |  | 1.6406 | 7.7106
|  |  | 975.2 |  | 1.6406 | 7.8747
|  |  | 979.9 |  | 1.6406 | 7.7106
|  |  | 984.6 |  | 1.712 | 8.0465
|  |  | 994 |  | 1.9974 | 18.7753
|  |  | 998.7 |  | 2.2827 | 10.7287 | 94.0403 | 950-1000
|  |  | 1003 |  | 2.2827 | 9.8156
|  |  | 1008 |  | 2.0688 | 10.3442
|  |  | 1013 |  | 1.9259 | 9.6295
|  |  | 1018 |  | 1.8544 | 9.2721
|  |  | 1022 |  | 1.9259 | 7.7036
|  |  | 1027 |  | 1.8544 | 9.2721
|  |  | 1032 |  | 1.9259 | 9.6295
|  |  | 1036 |  | 1.9974 | 7.9895
|  |  | 1046 |  | 1.9259 | 19.259 | 92.9151 | 1000-1050
|  |  | 1050 |  | 1.9259 | 7.7036
|  |  | 1055 |  | 1.9974 | 9.9868
|  |  | 1060 |  | 2.0688 | 10.3442
|  |  | 1065 |  | 2.2112 | 11.0562
|  |  | 1069 |  | 2.3542 | 9.4167
|  |  | 1074 |  | 3.495 | 17.4749
|  |  | 1079 |  | 4.9217 | 24.6084
|  |  | 1083 |  | 5.35 | 21.3998
|  |  | 1088 |  | 4.7078 | 23.5391
|  |  | 1093 |  | 4.2086 | 21.043
|  |  | 1098 |  | 3.7094 | 18.547 | 175.1197 | 1050-1100
|  |  | 1102 |  | 3.2811 | 13.1245
|  |  | 1107 |  | 3.1387 | 15.6936
|  |  | 1112 |  | 3.1387 | 15.6936
|  |  | 1116 |  | 3.2811 | 13.1245
|  |  | 1121 |  | 3.5665 | 17.8323
|  |  | 1126 |  | 3.9947 | 19.9737
|  |  | 1130 |  | 5.0646 | 20.2585
|  |  | 1135 |  | 11.6983 | 58.4916
|  |  | 1140 |  | 15.4061 | 77.0306
|  |  | 1149 |  | 16.7603 | 150.8423 | 402.0651
|  |  | 1159 |  | 15.0515 | 150.5145
|  |  | 1163 |  | 8.0604 | 32.2416
|  |  | 1168 |  | 6.2065 | 31.0325
|  |  | 1173 |  | 6.2764 | 31.3818
|  |  | 1178 |  | 5.2785 | 26.3924
|  |  | 1182 |  | 3.5665 | 14.2658
|  |  | 1187 |  | 3.2811 | 16.4056
|  |  | 1192 |  | 4.351 | 21.755
|  |  | 1196 |  | 5.5617 | 22.2467 | 346.2361
|  |  | 1201 |  | 6.846 | 34.2298
|  |  | 1206 |  | 7.0609 | 35.3046
|  |  | 1210 |  | 6.9212 | 27.6848
|  |  | 1215 |  | 6.7063 | 33.5313
|  |  | 1220 |  | 6.3462 | 31.7311
|  |  | 1225 |  | 6.1367 | 30.6833
|  |  | 1229 |  | 6.1367 | 24.5466
|  |  | 1234 |  | 6.7063 | 33.5313
|  |  | 1239 |  | 6.9911 | 34.9553
|  |  | 1243 |  | 6.3462 | 25.3849
|  |  | 1248 |  | 5.7068 | 28.5338 | 340.1166
|  |  | 1253 |  | 5.7068 | 28.5338
|  |  | 1258 |  | 6.0614 | 30.3071
|  |  | 1262 |  | 7.9153 | 31.6613
|  |  | 1267 |  | 11.4834 | 57.4169
|  |  | 1272 |  | 14.6216 | 73.1078
|  |  | 1276 |  | 13.4824 | 53.9294
|  |  | 1281 |  | 10.2743 | 51.3716
|  |  | 1286 |  | 7.4908 | 37.454
|  |  | 1291 |  | 5.6369 | 28.1845
|  |  | 1295 |  | 5.1361 | 20.5443 | 412.5109
|  |  | 1300 |  | 4.8507 | 24.2537
|  |  | 1305 |  | 4.4225 | 22.1124
|  |  | 1309 |  | 4.1371 | 16.5485
|  |  | 1314 |  | 3.9947 | 19.9737
|  |  | 1319 |  | 3.9233 | 19.6163
|  |  | 1323 |  | 3.8518 | 15.4072
|  |  | 1328 |  | 3.8994 | 19.4972
|  |  | 1333 |  | 3.9471 | 19.7354
|  |  | 1334 |  | 3.9947 | 3.9947
|  |  | 1338 |  | 4.0125 | 16.0499
|  |  | 1342 |  | 4.0302 | 16.1208
|  |  | 1347 |  | 4.0479 | 20.2397
|  |  | 1347 |  | 4.0657 | 0 | 213.5496
|  |  | 1352 |  | 3.9766 | 19.883
|  |  | 1356 |  | 3.8875 | 15.5501
|  |  | 1361 |  | 3.7985 | 18.9923
|  |  | 1365 |  | 3.7094 | 14.8376
|  |  | 1366 |  | 3.6737 | 3.6737
|  |  | 1371 |  | 3.6379 | 18.1896
|  |  | 1375 |  | 3.6022 | 14.4088
|  |  | 1380 |  | 3.5665 | 17.8323
|  |  | 1385 |  | 3.5307 | 17.6536
|  |  | 1388 |  | 3.495 | 10.485
|  |  | 1389 |  | 3.5069 | 3.5069
|  |  | 1394 |  | 3.5188 | 17.5941
|  |  | 1399 |  | 3.5307 | 17.6536 | 190.2605
|  |  | 1403 |  | 3.5426 | 14.1705
|  |  | 1408 |  | 3.5545 | 17.7727
|  |  | 1411 |  | 3.5665 | 10.6994
|  |  | 1413 |  | 3.595 | 7.1901
|  |  | 1418 |  | 3.6236 | 18.1182
|  |  | 1422 |  | 3.6522 | 14.6089
|  |  | 1427 |  | 3.6808 | 18.404
|  |  | 1429 |  | 3.7094 | 7.4188
|  |  | 1432 |  | 3.7236 | 11.1707
|  |  | 1436 |  | 3.7378 | 14.9511
|  |  | 1441 |  | 3.752 | 18.7598
|  |  | 1446 |  | 3.7661 | 18.8307
|  |  | 1449 |  | 3.7803 | 11.341 | 183.4359
|  |  | 1451 |  | 3.8518 | 7.7036
|  |  | 1460 |  | 3.9233 | 35.3094
|  |  | 1465 |  | 4.2086 | 21.043
|  |  | 1469 |  | 4.6363 | 18.5454
|  |  | 1474 |  | 5.35 | 26.7498
|  |  | 1479 |  | 7.206 | 36.03
|  |  | 1483 |  | 8.0604 | 32.2416
|  |  | 1488 |  | 7.7057 | 38.5287
|  |  | 1493 |  | 6.2764 | 31.3818
|  |  | 1498 |  | 4.9931 | 24.9657 | 272.499
|  |  | 1502 |  | 4.5654 | 18.2616
|  |  | 1507 |  | 4.4225 | 22.1124
|  |  | 1512 |  | 4.2086 | 21.043
|  |  | 1516 |  | 4.2086 | 16.8344
|  |  | 1521 |  | 4.1371 | 20.6857
|  |  | 1526 |  | 4.0657 | 20.3283
|  |  | 1531 |  | 4.1371 | 20.6857
|  |  | 1535 |  | 4.2801 | 17.1203
|  |  | 1540 |  | 4.4225 | 22.1124
|  |  | 1545 |  | 4.351 | 21.755
|  |  | 1549 |  | 4.1371 | 16.5485 | 217.4873
|  |  | 1559 |  | 4.1371 | 41.3713
|  |  | 1564 |  | 4.2086 | 21.043
|  |  | 1568 |  | 4.2801 | 17.1203
|  |  | 1573 |  | 4.2086 | 21.043
|  |  | 1578 |  | 4.2086 | 21.043
|  |  | 1582 |  | 4.2801 | 17.1203
|  |  | 1587 |  | 4.2801 | 21.4004
|  |  | 1592 |  | 4.2801 | 21.4004
|  |  | 1596 |  | 4.2801 | 17.1203 | 198.662
|  |  | 1601 |  | 4.2801 | 21.4004
|  |  | 1606 |  | 4.2801 | 21.4004
|  |  | 1611 |  | 4.2801 | 21.4004
|  |  | 1615 |  | 4.2801 | 17.1203
|  |  | 1620 |  | 4.351 | 21.755
|  |  | 1625 |  | 4.351 | 21.755
|  |  | 1629 |  | 4.5654 | 18.2616
|  |  | 1634 |  | 8.4903 | 42.4514
|  |  | 1639 |  | 13.5522 | 67.7611
|  |  | 1644 |  | 15.1213 | 75.6066
|  |  | 1648 |  | 12.3378 | 49.3511 | 378.2633
|  |  | 1653 |  | 5.207 | 26.0351
|  |  | 1658 |  | 3.2811 | 16.4056
|  |  | 1662 |  | 2.2112 | 8.8449
|  |  | 1667 |  | 1.6406 | 8.2028
|  |  | 1672 |  | 1.4267 | 7.1335
|  |  | 1676 |  | 1.1414 | 4.5654
|  |  | 1681 |  | 0.99841 | 4.9921
|  |  | 1686 |  | 0.92748 | 4.6374
|  |  | 1691 |  | 0.85601 | 4.2801
|  |  | 1700 |  | 0.78455 | 7.0609 | 92.1578
[6 empty] | 6881.1195 | 6869.6672